## Slide 1
Labs of Physics for Engineers
Young’s ModuluS
Physics Experiment Teaching Center

## Slide 2: Aim
1. To estimate Young’s Modulus for a steel wire.
2. To learn how to measure a tiny deformation.

## Slide 3: Theory
Young's modulus is a measure of the stiffness of the elastic material. The length of a tested wire is L0, and F is the magnitude of the force applied perpendicularly to the area A of the wire. The strain or the unit deformation, is represented by ΔL/L0, here ΔL represents the stretch produced by the force F.
Fig. 1 A stress F/A on a wre leading to a strain ΔL/L0
Young's modulus
stress
strain

## Slide 4: Theory
Once the stress and strain are measured by the equipment, then Young's modulus can be determined for a specific sample in the lab.
Now the problem is focused on how to determine the value ΔL, a very tiny value after the sample is stretched because of the elasticity.
An optical lever is a convenient device to magnify a small displacement and thus to make an accurate measurement of the displacement.

## Slide 5: Apparatus
Fig. 2 Measuring ΔL by an optical lever.
Once the tested wire is stretched by a weight, the mirror consequently tilted up, as a result the reading of the ruler viewed from the telescope is changed as follows. The changes of the reading is proportional to the strain of the stretched wire.

## Slide 6: The principle of tiny deformation measurement
b is the perpendicular distance of n1 to the line of n2 and n3, θ is the motion angle
Fig. 3 The relationsip between D, ΔN and ΔL
is the difference between the readings on the scale produced by the applied weight
θ is small so that

## Slide 7: Procedure
PART 1 – Aligning the System.
(a) Place the optical lever on the small platform of the tripod with setting the mirror vertically (see Fig.4). Set the telescope and the reading scale at least 1 meter away from the mirror and at about the same height.
(b) Adjust the telescope (height and focus), so that you can see the reflected image of the measuring scale of the ruler through the mirror from the telescope clearly (see Fig.5).
(c) Tilt the mirror or relocate the ruler until the middle of the scale of the ruler coincides with the cross-hair of the telescope.

## Slide 8: Procedure
Fig.4 setting the mirror vertically
light lever
mirror

## Slide 9
Fig.5b See the clear reflected image of the ruler from the telescope
Fig.5a Reflected image of the ruler through the mirror above the telescope
reflected image of the ruler
telescope
cross-hair of the telescope

## Slide 10: Procedure
PART 2 – Determining Young's modulus.
(a) Carefully place 1kg on the weight hanger, keeping on hand under the weight hanger as each weight is added or removed lightly and carefully so that the image is not shifted by an unnecessary impact or vibration. Remember that 1 kg here is the mass for keeping the wire to be stretched. Do not count it as the first mass. (b) Read N0, the reading of the ruler viewed from the telescope. Wait a minute until the reading shows little change.
(c) Add 1 kg on the hanger, then read N1 at the new weight. Repeat this procedure until the weight of 7 kg is on the hanger, read N2-N7 at the new weight.
(d) Remove 1 kg from the hanger, then read at the reduced weight. Repeat this procedure until the weight of 7 kg is removed from the hanger, read at the new weight.

## Slide 11: Procedure
PART 2 – Determining Young's modulus.
(e) Fill all data in the following Table 1. Average these measured values to obtain the difference ΔN for each load.
(f) With the meter stick, measure the length of the wire L0 between two chucks, and measure the distance D from the mirror to the reading scale.
(g) With the micrometer screw gauge, make five determinations of the diameter of the wire d (five different points along the length of the wire).
(h) With the ruler, measure the light lever constant b.

## Slide 12: Data & Calculation
M(kg) |  | 0 kg | 1 kg | 2 kg | 3 kg | 4 kg | 5 kg | 6 kg | 7 kg
F=Mg (N) |  | / |  |  |  |  |  |  | 
Stress: F/A (N/m2) |  | / |  |  |  |  |  |  | 
Ni (cm) | Add weight |  |  |  |  |  |  |  | 
 | Reduce weight |  |  |  |  |  |  |  | 
 | Average value |  |  |  |  |  |  |  | 
Ni-N0 (cm) |  | / |  |  |  |  |  |  | 
Strain: |  | / |  |  |  |  |  |  | 
Table 1 Data of stress against strain

## Slide 13: Data & Calculation
Times | Zero reading d0 | Measured value di | Diameter of the wire d
1 |  |  | 
2 |  |  | 
3 |  |  | 
4 |  |  | 
5 |  |  | 
Average diameter of the wire: |  |  | 
Table 2 Diameter of the steel wire Unit：mm

## Slide 14: Data & Calculation
 | L0 (cm) | D (cm) | b (mm)
Single measurement |  |  | 
Table 3 Measure L0, D, d, b (see Fig 6)

## Slide 15
Fig 6a Measurement of the length of the metal wire L0
L0
The steel wire
yoke
yoke

## Slide 16
Fig 6b Measurement of distance from the mirror to the reading scale D
D

## Slide 17: Results
Calculate the slope of the best-fit straight line based on
the graphic method
(a) Graphing the curve of the stress and stain (based on the calculated results in Table 1). The slope of the stress-stain line is what we need for Young's modulus.
(b) Choose two points from the best-fitted line and calculate Young's modulus. Note that the two points are selected from the two side of the line and are not the measure points.
(c) Comparing with the typical Young's modulus value. Typical value: Esteel＝1.80×1011 N/m2
An example is shown in Fig. 7.

## Slide 18: Results
Fig. 7 Calculate the slope of the best-fit straight line based on the graphic method

## Slide 19: Conclusions
In no more than 100 words write a succinct summary of what you have done. State the goal and method of the experiment. State your main results, i.e.: What value did you get for Young’s Modulus? Is your result in agreement with the accepted value? If your result is not consistent with the accepted value can you suggest why not?

## Slide 20: An example for conclusions

## Slide 21: Appendix: Micrometre Screw Gauge
Micrometre Screw Gauge is an instrument which can measure accurately to ±0.001 mm. However, it is limited to objects less than 25 mm in size.
See text in P38

## Slide 22: Appendix: Micrometre Screw Gauge
Zero reading
positive：0.035
negative: -0.003
3.5
0.3

## Slide 23
Read the barrel 8.500 mm
Read the thimble 0.058 mm
8.500+ 0.058 mm=8.558mm
How to read the micrometre